Eyedata and Fixation Externals

Erik Brown

Cognitive Modeling and Eye Tracking Lab

University of Oregon, Eugene, OR

October 29, 2007

Updated fixation information 6/25/09

by Kyle Vessey

Overview	2

Purpose of this document	2

EyeMusic	2

Max external	2

Development environments and requirements	2

Project location	2

Max/MSP Software Development Kit	2

Xcode	2

Installing the Max/MSP SDK	2

Xcode settings	2

Debugging	2

Installing the external for use in Max/MSP	2

Visual Studio	2

Installing the Max/MSP SDK	2

Visual Studio settings	2

Debugging	2

Installing the external	2

The code	2

Max requirements and external code framework	2

The eyedata external	2

EgMac and EgWin	2

Retrieving data	2

Threads	2

Data buffer	2

The fixation external	2

Dispersion based algorithm	2

Velocity based algorithm	2

main.cpp	2

Acknowledgements	2

# Overview

### Purpose of this document

This document provides notes on the eyedata and fixation Max/MSP externals development for both Macintosh and Windows. The eyedata external provides the communication link between EyeMusic and an LC Technologies Eye Tracking system. The fixation external provides real-time fixation identification of eye data. These externals have been used primarily in EyeMusic (see below), but can easily be used in other Max/MSP compositions. Whereas EyeMusic is composed within the Max/MSP/Jitter visual development environment, our externals are essentially a library containing functions that Max will call and consist solely of C and C++ code. This document will not discuss EyeMusic, but rather is intended to help future programmers enhance and maintain the eyedata and fixation external code.

### EyeMusic

EyeMusic is a project that explores how eye movements can be sonified to show where a person is looking using sound, and how this sonification can be used in real time to create music. An eye tracking device (the LC Technologies Eyegaze Communication System) reports where the performer is looking on the computer screen, as well as other parameters pertaining to the status of the eyes. The eye tracker reports these data in real time to a computer program (written using Max/MSP/Jitter). The computer program generates and modifies sounds and images based on these data.

### Max external

A Max external is a library of functions that Max will call. An external for Max must meet some requirements imposed by Max, such as a main() function, a t_class object, and new() and free() functions among others. Max will call these functions at predetermined times.

# Development environments and requirements

### Project location

The project is in the lab’s CVS repository and a checkout of this project should build without any modifications to the project. Working with CVS will not be covered here, but currently the project is located on ix.cs.uoregon.edu at ‘/research/hornof/CVS/max-externals’.

To get a copy using the bash shell:

$> export CVS_RSH=ssh

$> cvs –d:ext:user@cs.uoregon.edu:/research/hornof/CVS co max-externals

# Of course, replace ‘user’ with your username on ix.

### Max/MSP Software Development Kit

In order to develop our own Max external we need certain files so that our code knows about the structures, data types, and functions available to our external. These files are the header files which declare these elements and the library files which implement them. These files together are known as a software development kit (SDK), and the Max/MSP SDK is freely available from the Cycling’74 website. The version required for our externals is Max/MSP 4.5.5 SDK or later.

### Xcode

#### Installing the Max/MSP SDK

The Max/MSP SDK installation process may change, but probably won’t change much. Our project only needs to know where these SDK files are located. If that location changes for any reason, then our project will need to be modified accordingly. Macs (not Max) use a nice method of providing APIs called Frameworks. If you use Mac OS X, then you already have many of these installed. Currently, the Max SDK consists of three Frameworks which need to be copied into the /Library/Frameworks directory. Our project simply points there and that’s about all there is to it.

#### Xcode settings

The eyedata project is in the lab’s CVS repository and a checkout of this project should build without any modifications to the project. Working with CVS will not be covered here, but currently the project is located on ix.cs.uoregon.edu at ‘/research/hornof/CVS/max-externals’.

Building the eyedata external will require these settings (already set in the project in CVS):

Header Search Paths:	must include the /Library/Frameworks/MaxAPI.framework/Headers directory

Framework Search Paths:	must include /Library/Frameworks

Preprocessor Macros:	add ‘MAC_VERSION’

Other Linker Flags:	-lmx

Wrapper Extension:	mxo

Architectures:	depends on target platform – specify both ppc and i386 for a Universal Binary

#### Debugging

Thankfully, one can debug an external while it is running. To do so, you should build the project using the Debug build configuration and install the external (as described in the next section).

Next, you need to setup a Custom Executable for the eyedata project. This setting is part of your personal Xcode project and so this is not setup for you after an initial checkout from CVS. From the Project menu choose “New Custom Executable”. Name the executable whatever you want and using the Choose… button, navigate to the Max/MSP Runtime application. Click Next and accept the default settings the Executable Info window shows.

Now, when you choose Debug from Xcode, Max will start automatically. When it finishes starting, just open any patch. If an eyedata or fixation object is in the patch, Xcode will stop at breakpoints set in the external code.

You can also choose to Run the project from Xcode which will start Max, but will not stop at any breakpoints that may be set. Note also, that you may be tempted to use Max/MSP.app instead of Max/MSP Runtime.app as your executable. This will work if you choose “Run” from Xcode, but will not work if you choose “Debug” from Xcode. This is because of a copy protection scheme used by the Max/MSP application. The difference between the two apps is that you cannot edit the patch using the Runtime application. I tend to have both custom executables setup and switch to the Runtime application only when I need to debug.

#### Installing the external for use in Max/MSP

There may be various ways to install the externals for use in Max/MSP. The easiest method is to manually copy a newly built external to Max’s external directory overwriting the previous copy. To do so, find and copy the bundle named eyedata5.mxo or fixation.mxo into the directory:

<Max App directory>/Cycling ‘74/externals.

### Visual Studio

The code in CVS also contains a Microsoft Visual Studio 2003 .NET project. As with the Xcode code, this should compile and run without changes.

#### Installing the Max/MSP SDK

When installing the SDK on Windows, the default location is C:\maxmspsdk. Windows users commonly change default installation directories, but this is discouraged in this instance. The Visual Studio project has this location hard-coded into it, and leaving it as is will make life easier for development.

#### Visual Studio settings

Preprocessor settings: 	add ‘WIN_VERSION’ to list

Runtime library:	Multi-threaded DLL

Create/Use Precompiled Header:	Not using precompiled header

Output file:	make sure to use the “.mxe” extension

Additional Include Directories:	Source/Eg (for eyedata external only);C:\maxmspsdk\c74support\max-includes

Linker/Additional Dependencies:	Ws2_32.lib (for eyedata external only), maxapi.lib

Linker/Additional Library Directories:	‘C:\maxmspsdk\c74support\max-includes’

#### Debugging

To debug in Visual Studio, build the Debug version of the external and install the external (as described in the next section).

Next, change the ‘Command’ setting in the project’s configuration to point to the Max/MSP Runtime application. Now, when you start the Debugger in Visual Studio, Max will start automatically. When it finishes starting, just open any patch. If an eyedata or fixation object is in the patch, Visual Studio will stop at breakpoints set in the external code. This setting must be applied in both the eyedata and fixation project settings.

#### Installing the external

Max externals, given a default installation, are located in ‘C:\Program Files\Common Files\Cycling '74\externals’. Copy either the Debug or Release version of the *.mxe file (whichever you are working on) into this directory.

# The code

### Max requirements and external code framework

This document will not discuss these issues at much length. There is at least some Max documentation for writing externals that will be more informative and accurate.

Our main() function is called when our external is loaded into Max. Here, we just need to tell Max about our object and all the methods that Max will call in predetermined situations. Most importantly, we need to tell Max about the memory allocation and deallocation methods that Max will call when our object is created and destroyed. These methods are typically named something like myobject_new() and myobject_free().

The myobject_new() function is called when an eyedata or fixation object is created, or when a patch is loaded with an existing eyedata or fixation object. This is the appropriate time to allocate memory for the object if that is required.

The myobject_free() function is called when an eyedata or fixation object is destroyed. This is the appropriate time to destroy any allocated memory.

Both objects respond to specific messages through their respective inlets and pass data out through their outlets. The inlets and their corresponding functions are set up in the main() and myobject_new() functions.

### The eyedata external

Our eyedata object responds to four string messages: connect, disconnect, startdata, stopdata. Each of these has its own function and we have already told Max what these are. Essentially, each of these will call the corresponding function associated with the EgMac object that was created earlier.

Finally, the patch needs a way to retrieve the eye gaze data that the external is collecting. This is done by setting up a clock, along with an interval (such as 10 milliseconds), that tells Max to call into our external every interval to retrieve this data. We set the clock when the patch sends a startdata message, and unset the clock for a stopdata, or disconnect, message.

#### EgMac and EgWin

EgMac (and EgWin) is the connection to the eye tracking server – Eg stands for “Eyegaze”. Typically, a user of this C++ object (not Max object) will create the object, have the object connect to a specified IP Address, start the data collection, retrieve the data from the EgMac object (this probably driven by the Max clock), stop data collection, and then disconnect. The EgMac object takes care of setting up the communication channel and collecting the data the eye tracking server sends.

In order to create a code base that will build for both Mac and Windows, some code needed to be separated from the majority of code that works for both platforms. Windows does not implement POSIX threads, unfortunately, or this wouldn’t have been a problem. To separate this code out, we have used inheritance and virtual functions. An abstract base class, EgBase, provides almost all of the functionality needed. Two derived classes, EgMac and EgWin, provide the platform specific functions. The base class makes a handful of functions pure virtual, which requires derived classes to implement these functions. These functions are simple wrappers for just a line or two of code which do things like create the reading thread, lock or unlock a mutex, etc.

The user of the Eg object can create this object in one of two ways. If cross-platform code is not an issue, then the user can create either an EgMac or EgWin object and use it as expected. But, if cross-platform is desired, then the method necessary is to create a pointer to an EgBase object, but instantiate it as an EgMac or EgWin object (based on some preprocessor #define, such as #ifdef MAC_VERSION or #ifdef WIN_VERSION). Because of late binding, the functions in the desired derived object are called, even though we have declared a pointer to the EgBase class. Here is a short snippet of code for illustration:

#ifdef MAC_VERSION

#include "EgMac.h"

#elif WIN_VERSION

#include "EgWin.h"

#endif

EgBase   *eg;

#ifdef MAC_VERSION

eg = new EgMac;

#elif WIN_VERSION

eg = new EgWin;

#endif

eg->connect(“192.168.0.1”);

eg->startData();

application loop

if timer event then

eg->GetData();

end if

end loop

eg->stopData();

eg->disconnect();

#### Retrieving data

The object keeps a buffer of the last n pieces of data in a queue. The user calls GetData() when desired, and EgMac will return the piece of data from the front of the queue and then remove it from the queue. The queue is a fixed size, so if no data is retrieved by the caller, then pieces of data will be thrown away as more data is collected from the eye tracking server (see also the Data Buffer section in this document).

#### Threads

The external is a multi-threaded application. Well, there are two threads, anyway. EgMac (EgWin) is responsible for creating this additional thread. When a connection is initiated by the EgMac object, the object opens a socket to the eye tracking server. Reading and writing is done through this socket, but these two calls are also blocking calls, which means if we attempt to read, the thread stops right there and waits until data is available. This, of course, is not acceptable because Max/MSP needs to continue to run regardless of the communication state with the eye tracker. Therefore, after creating the socket, an additional thread is spawned whose sole purpose is to read from the socket. Since this is its own thread, it can call read(), and block, without affecting other threads (the rest of the external and Max itself). This thread will continue to run until it fails to read from the socket (because the socket was closed), and will then exit.

The issue this creates is that two threads will be accessing the queue of eye gaze data. We cannot let one thread be interrupted in the middle of this access, and then have the other thread access the queue, which can happen with a preemptive, multi-tasking operating system. Therefore, the EgMac object also creates a mutex with which it protects access to the queue, allowing only one thread at a time access. Calls to SetData() and GetData() are surrounded by this mutex, waiting and signaling as appropriate.

#### Data buffer

Eye gaze data is collected by the reading thread as soon as data become available. However, the user of the EgMac object retrieves data only when it needs it, typically by creating some sort of timer, which when it goes off, retrieves a piece of data from the buffer. Without a buffer, pieces of data may get thrown away as new data comes in.

Currently, the buffer is pretty small – as of this writing it can hold 10 pieces of eye gaze data. The problem that we are presented with is that we require the main application to poll for available data. If data is retrieved at a faster rate than it is collected, then we will be burning CPU cycles which is bad for performance. If data is retrieved at a slower rate than it is collected, then the buffer will quickly fill up and pieces of data will be thrown away. This external was actually tested with no buffer and EyeMusic seemed to perform perfectly well. Perhaps an argument can be made for not using a buffer at all, which means that whenever data is retrieved, it is guaranteed to be the most recent piece of data from the eye tracker.

However, no buffer, or a small buffer, presents a data logging issue. If the main application wants to log the eye gaze data, then the situation could occur that if it retrieves the data too slowly, and the data collection throws away data at the front of the queue because it is full, then the main application will not actually log every piece of data that is collected. At one time the original EgMac code was able to tell the EG server to log data and this should be easy to put back in place if necessary (it only requires sending the appropriate messages to the server and so should be cross-platform compatible). But this is server side logging only.

To make sure data does not fall off the front of the queue (where you retrieve it), the main application makes repeated calls to GetData() in a loop until that call returns false. For example:

if (timer event)

while (GetData(&data) == true)

do something with data

end while

end if

This will likely let the main application “catch up” with the data collection, however, it will still need to create these timer events at some minimum frequency because the data collection is filling the queue at a rate of 60 or 120 Hz (every 16 or 8ms, depending on the eye tracker).

### The fixation external

Eye movements can be split into two distinct categories: fixations and saccades. Fixations occur when the eyes are relatively still and saccades are the quick movements between fixations. Identifying fixations often occurs after eye-movement data has been collected and is a way of greatly reducing the size of the data necessary for analysis. Since little to no information is processed during a saccade, the data points during a saccade can be ignored, and a fixation, once identified, can collapse many data points into a single region of interest.

In their paper, Identifying Fixations and Saccades In Eye-Tracking Protocols (2000), Salvucci and Goldberg create a taxonomy of fixation algorithms. Our fixation external uses both the dispersion-based and velocity-based algorithms described in that paper.

The fixation object receives information in seven inlets and passes data out three outlets. The inlets are: 1) current x-position of gaze, 2) current y-position of gaze, 3) eye found flag, 4) eye tracker sample rate, 5) fixation algorithm to use, 6) dispersion/velocity threshold, and 7) duration threshold for both algorithms. (Note that Salvucci and Goldberg did not include a duration threshold for the velocity-based algorithm.

The outlets are used as follows:  when a fixation ends, a zero is sent out the first outlet.  When a new fixation is identified, the (x, y) position of the first point within the fixation is sent out the second (x) and third (y) outlets.  To follow the Max right-to-left message passing rule, the y coordinate is sent out first followed by the x coordinate.

#### Dispersion based algorithm

This algorithm and our code to implement it will not be discussed here. The comments within the code do a fair job of describing the implementation and also, the code existed before this document was written and this author did no work on the algorithm.

#### Velocity based algorithm

The velocity-based algorithm is a simple and straightforward fixation identification process. We assume that data points in a fixation have relatively low velocity between any two successive points and that during a saccade the velocity is relatively high. Because the sole criteria is velocity, slow, smooth pursuit of a moving target may fall under one, or few, fixations.

Requirements

The algorithm requires other information to run.  In addition to the velocity threshold (degrees/second), it needs to know the rate at which it receives samples (Hz) and the minimum time before a group of low-velocity points can be considered a fixation (ms). The velocity threshold parameter is converted into screen pixels based on an assumed eye-to-screen distance of 22 inches, which is parameterized in the code.

The default values for these parameters are:

velocity 	20 deg/s

frequency 	60 Hz

min time 	100 ms.

Implementation

The algorithm is implemented with C++ classes. This is different than the dispersion-based algorithm, which is contained within the main.cpp file and which uses a collection of C functions, passing values along the way as necessary. Using a class helps keep the velocity code cleaner and does not require nearly as much parameter passing because the class keeps its own copy of the necessary data and all its member functions have access to this.

The Velocity class has three primary sections. The first is the constructor which determines the number of pixels and millimeters on the primary monitor. The second section is the conversion of the velocity threshold, given in degrees/second, to pixels/second (see CalculateNewThreshold()). This section is run whenever the velocity threshold or other parameters are changed. The third section is the fixation identification section (see Add(Point pt, bool eyeFound)). This function is meant to receive every piece of eye data that comes into the fixation object. Using the currently set parameters, it calculates a new state – either MOVING, FIXBEGIN, FIX, or FIXEND. If it is currently in a fixation, then it will add points to the fixation group until it determines that a fixation has ended. The function will return the current state of the fixation to the code in main.cpp, which should use this information to send appropriate data to the fixation object’s outlets.

When checking the current velocity against the velocity threshold, the algorithm checks whether the eye found flag is false. If so, then this new gaze point is ignored. The algorithm also determines whether the velocity is above a predetermined upper (or impossible) bound. If so, this point is also ignored. This is currently set to 800 degrees/second.

Finally, the velocity object converts the threshold, given in degrees/second, to pixels/second using the trig function tangent. Since tangent is undefined at 90°, and further, only cycles between -90° and 90°, the code does not currently handle this correctly. The help patch for the fixation object allows only values between 1 and 89° and we have documented this problem here and in the fixation code.

#### main.cpp

This file provides the link between Max and our fixation object. We create our fixation object here, give it the necessary inlets and outlets, and hook up functions to our inlets so that Max can call these functions when data is sent to the inlets. Our object also holds the various important parameters that the algorithms use to identify fixations. When Max calls into the object with a yposition parameter, the object assumes it also just received the xposition and the eye found flag and decides which algorithm to call based on a parameter help within the object. When the object receive data in other inlets, such as the threshold inlet, it will call the appropriate functions once again based on the current algorithm parameter in the object. The velocity algorithm uses a separate C++ class to do its work, so calls into this object are usually made. However, the dispersion-based detection scheme consists of C routines in main.cpp, and so often times, settings are simply applied inline. The reason for this drastic difference is that originally, the fixation object contained only the dispersion-based algorithm and when velocity-based was added much later, creating that in a class helped keep things more organized and allowed the dispersion-based code to remain relatively untouched.

# Acknowledgements

This work has built upon the work of many others who have been part of the Cognitive Modeling and Eye Tracking Lab at the University of Oregon.

Linda Sato built the original version of the eyedata and fixation externals in the Codewarrior development environment.

Rachel Nehmer ported the eyedata project to use the Carbon based API.

Tim Halverson originally wrote code to communicate over TCP/IP from a Macintosh to an LC Technologies eye tracking system for Mac OS Classic. Tim later updated this code to use the Core Foundation framework available on Mac OS X. The EgMac code in this external is derived from these efforts.

Troy Rogers wrote the patches for Max/MSP which are EyeMusic and has composed numerous studies for EyeMusic.

Anthony Hornof, Associate Professor in the Department of Computer Science at the University of Oregon. In addition to running the lab, Dr. Hornof has also assisted in the design of the eyedata Max external and the EyeMusic composition, and has performed EyeMusic live at the  conference on New Interfaces for Musical Expression in 2007.

References

Salvucci, D. D., & Goldberg, J. H. (2000). Identifying fixations and saccades in eye-tracking protocols. In Proceedings of the Eye Tracking Research and Applications Symposium (pp. 71-78). New York: ACM Press.